Specification of “South Horizons HKPC Grey Water Recycling System”

| Model | GWR-2 | GWR-5 | GWR-10 | GWR-20 |
| --- | --- | --- | --- | --- |
| Treatment Capacity | 2 cu.m/day | 5 cu.m/day | 10 cu.m/day | 20 cu.m/day |
| Dimension W x D x H (Metre) | 1 M x 1 M x 2 M | 2 M x 2 M x 2 M | 3 M x 5 M x 2 M | 5 M x 8 M x 2 M |
| Net Weight (kg) | 1000 kg | 1500 kg | 2500 kg | 4000 kg |
| Disinfection dosing pump | 7 L/H | 7 L/H | 17 L/H | 28 L/H |
| Power supply | 220V/1ph/50hz | 220V/1ph/50hz | 380V/1ph/50hz | 380V/1ph/50hz |
| Reception tank | 1 cu.M | 1.5 cu.M | 2 cu.M | 5 cu.M |
| SAF Tank | 1 cu.M | 1.5 cu.M | 2 cu.M | 5 cu.M |
| Product Water tank | 1 cu.M | 1.5 cu.M | 2 cu.M | 5 cu.M |